## Contents
Grid Supply Point Register
Last Updated [09/10/2025]:
About
Grid Supply Point (GSP) This describes the point of connection between the transmission system and the distribution system. Content - this comprises details of contents of this file. Definitions - this describes the different data fields used. GSP Info - this comprises a list of GSP and their details.
Contacts and other useful information
Contact details
Christopher Ibeh (christopher.Ibeh@neso.energy); Melike Ayaz (melike.ayaz@neso.energy)
Additional Information To assist you in understanding other information regarding GSPs, we provide the following links to addittional information for Elexon Network Mapping statement
https://www.elexon.co.uk/bsc/consultation/consultation-p350-draft-reference-network-mapping-statement-2025-26/

## Definitions
Introduction
This contain detials of respective field columns
Register Definitions
| Heading | Explanation
General Data
| S/N | Serial Number
| S/N | GSP Serial Number
| Grid Supply Point (GSP) Name | This indicate the name of the Grid supply Point.
| Alternative GSP name | Any other name the GSP is known as
| GSP Group | Associated GSP Group Name
| GSP Type | Categorry of GSP (Disconnected, Future, Generation, Single Site, Split Busbar, Standard)
| Future GSP Start Date (If New) | Estimated date of energisation if a new GSP. This date is likely to change to reflect the latest date notified by customers.
| Proposed offline date (If going offline) | Date of disconnection of GSP if the GSP is to be dis-connected.
| Proposed Change (Y/N) | Indicates whether there is a proposed change to the GSP
| Details of Change | Details of any proposed change to the GSP
| Latitude (X-coordinate) | Six digit British National Grid X coordinate of the Customer Site. Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Longitude (Y-coordinate) | Six or seven digit British National Grid Y coordinate of the Customer Site. (In Northern Scotland, these will be seven digit coordinates.) Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Overlab with other GSP area (Y/N) | Indicates whether the GSP spatially overlaps with other GSP
| Name(s) of GSP(s) overlapped with (If overlapping) | This is the name(s) of overlaping GSP if the GSP overlaps with other GSP
| Proportion of Net Demand Overlap | This is the percentage proportion of NET electricity Demand the GSP covers considering overlaping GSP group
| Additional Comment | This is for any other comment not included in other sections about the GSP
Note
For each, each DNO/IDNO Party shall use reasonable endeavours to review all relevant fields in the GSP Register and update the list as well as details of the respective GSP where information indicated is not correct and add additional GSP details if additional GSP information exists for the DNO but is not captured If a specific field is not applicable to a specific GSP, then the DNO/IDNO Party will populate the relevant field with the words ‘data not applicable’.

## Register
General Data
S/N | GSP Name | Elexon ID | GSP Group | GSP Type | Future GSP Start Date (If New) | Proposed offline date (If going offline) | Proposed Change (Y/N) | Details of Proposed Change (If any proposed change) | Latitude | Longitude | Overlap with other GSP area (Y/N) | Name(s) of GSP(s) overlapped with (If overlapping) | Proportion of Net Demand Overlap | Additional Comment
1 | East Claydon | ECLA_1 | _B | [5 empty] | 51.9272 | -0.90826
2 | Enderby | ENDE_1 | _B | [5 empty] | 52.5981 | -1.2148
3 | Chesterfield | CHTE_1 | _B | [5 empty] | 53.2243 | -1.3875
4 | Bicker Fen | BICF_1 | _B | [5 empty] | 52.9308 | -0.22116
5 | West Burton | WBUR_1 | _B | [5 empty] | 53.3604 | -0.80717
6 | Staythorpe | STAY_1 | _B | [5 empty] | 53.0775 | -0.86897
7 | Coventry | COVE_1 | _B | [5 empty] | 52.4555 | -1.464
8 | Willington | WILL_1 | _B | [5 empty] | 52.8561 | -1.5488
9 | Ratcliffe | RATS_1 | _B | [5 empty] | 52.8633 | -1.2527
10 | Stoke Bardolph | SBAR | _B | [5 empty] | 52.9598 | -1.0506
11 | Grendon | GREN_1 | _B | [5 empty] | 52.2434 | -0.72568
12 | Walpole (_B) | WALP_B | _B | [5 empty] | 52.7277 | 0.19893
13 | Berkswell | BESW_1 | _B | [5 empty] | 52.3866 | -1.6139
14 | Drakelow | DRAK_1 | _B | [5 empty] | 52.7732 | -1.6495
15 | Feckenham | FECK_6 | _E | [5 empty] | 52.2524 | -1.9721
16 | Ironbridge | IRONB1 | _E | [5 empty] | 52.6325 | -2.51
17 | Willenhall | WIEN_1 | _E | [5 empty] | 52.5768 | -2.0598
18 | Nechells | NECE_1 | _E | [5 empty] | 52.507 | -1.8512
19 | Penn | PENN_1 | _E | [5 empty] | 52.5565 | -2.2083
20 | Bishops Wood | BISW_1 | _E | [5 empty] | 52.3125 | -2.2427
21 | Bushbury | BUSH_1 | _E | [5 empty] | 52.6362 | -2.1148
22 | Cellarhead | CELL_1 | _E | [5 empty] | 53.0411 | -2.0858
23 | Iron Acton | IROA1 | _L | [5 empty] | 51.569 | -2.4813
24 | Oldbury | OLDB_1 | _E | [5 empty] | 52.4985 | -2.0223
25 | Shrewsbury | SHRW_1 | _E | [5 empty] | 52.7097 | -2.6927
26 | Ocker Hill | OCKH_1 | _E | [5 empty] | 52.541 | -2.0331
27 | Kitwell | KITW_1 | _E | [5 empty] | 52.4313 | -2.0132
28 | Rugeley | RUGEB1 | _E | [5 empty] | 52.7538 | -1.9126
29 | Pyle | PYLE_1 | _K | [5 empty] | 51.5358 | -3.6877
30 | Swansea North | SWAN_1 | _K | [5 empty] | 51.6827 | -3.961
31 | Rassau | RASS_1 | _K | [5 empty] | 51.8087 | -3.2257
32 | Margam (Grange 66kV) | MAGA_6 | _K | [5 empty] | 51.56 | -3.7541 |  |  |  | Name changed from Margam to Grange
33 | Alpha Steel (Uskmouth) | ALST_3 | _K | [5 empty] | 51.5487 | -2.9755 |  |  |  | Assume no demand growth should be modelled here. Assumed single distribution connected industrial site. All other FES demand allocated to USKM_1.
34 | Pembroke | PEMB_1 | _K | [5 empty] | 51.6822 | -4.9873
35 | Cardiff East | CARE_1 | _K | [5 empty] | 51.4955 | -3.1447
36 | Upper Boat 132kV | UPPB_1 | _K | [5 empty] | 51.5752 | -3.2975 |  |  |  | Overlapping with UPPB_3 in shapefile. Analysis of Elexon data suggests UPPB_1 has approx. 69% of this groups net demand
37 | Aberthaw | ABTH_1 | _K | [5 empty] | 51.3852 | -3.4033
38 | Axminster | AXMI1 | _L | [5 empty] | 50.7871 | -2.9244
39 | Abham | ABHA1 | _L | [5 empty] | 50.4716 | -3.7295
40 | Indian Queens | INDQ1 | _L | [5 empty] | 50.3949 | -4.9008
41 | Sandford | SAFO_1 | _L | [5 empty] | 51.341 | -2.839 |  |  |  | New for ETYS 2024, Two new circuits connected into the Sandford 132kV substation. Overlapping in shapefile with SEAB1. Analysis of Elexon data suggests SAFO_1 has approx. 41% of this groups net demand
42 | Seabank | SEAB1 | _L | [5 empty] | 51.5363 | -2.6705 |  |  |  | Overlapping in shapefile with SAFO_1. Analysis of Elexon data suggests SEAB1 has approx. 59% of this groups net demand
43 | Landulph | LAND1 | _L | [5 empty] | 50.4443 | -4.2421
44 | Alverdiscott | ALVE1 | _L | [5 empty] | 51.0057 | -4.1375
45 | Taunton | TAUN1 | _L | [5 empty] | 51.0169 | -3.1528
46 | Exeter | EXET1 | _L | [5 empty] | 50.7665 | -3.4059
47 | Hams Hall (Lea Marston 132kV) | HAMHC1 | _E | [5 empty] | 52.5287 | -1.7087
48 | Bustleholme | BUST_1 | _E | [5 empty] | 52.553 | -1.964
49 | Port Ham 132Kv S Stn |  |  | Future
50 | Melksham Sgp |  |  | Future
51 | Lea Marston 132Kv S Stn |  |  | Future
52 | Access Groups 1 & 2 |  |  | Future

## Lists (hidden)
| ECR Energy Source | Technology options for: Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Technology options for: Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Technology options for: Biofuel - Landfill gas | Technology options for: Biofuel - Sewage gas | Technology options for: Biofuel - Other | Technology options for: Biomass | Technology options for: Fossil - Brown coal/lignite | Technology options for: Fossil - Coal gas | Technology options for: Fossil - Gas | Technology options for: Fossil - Hard coal | Technology options for: Fossil - Oil | Technology options for: Fossil - Oil shale | Technology options for: Fossil - Peat | Technology options for: Fossil - Other | Technology options for: Geothermal | Technology options for: Hydrogen | Technology options for: Nuclear | Technology options for: Solar | Technology options for: Stored Energy (all stored energy irrespective of the original energy source) | Technology options for: Waste | Technology options for: Water (flowing water or head of water) | Technology options for: Wind | Technology options for: Other | Technology options for: Data not available | Flexible Connection (Yes/No) | Distribution Service Provider | Transmission Service Provider | Licence Area (Host DNO) | Status | CHP Co-Generation | Connection queue | Country
AdvancedFuelproducedviagasificationorpyrolysisofbiofuelorwaste | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Geothermal power plant | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Photovoltaic | Storage - Chemical | Steam turbine (thermal power plant) | Hydro - Run of river | Offshore wind turbines | Interconnector | Engine (combustion / reciprocating) | Yes | Yes | Yes | Eastern Power Networks plc | Accecpted to Connect | Yes | Yes | England
BiofuelBiogasfromanaerobicdigestionexcludinglandfillsewage | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Other | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Other | Other | Storage - Electrical | Other | Hydro - Reservoir (not pumped) | Onshore wind turbines | --- | Steam turbine (thermal power plant) | No | No | No | Electricity North West plc | Connected | No | No | Scotland
BiofuelLandfillgas | Biofuel - Landfill gas | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Data not available | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Data not available | Data not available | Storage - Mechanical - Compressed Air (Adiabatic & Diabatic) | Data not available | Hydro - Other | Other | Engine (combustion / reciprocating) | Gas turbine (OCGT) | To Be Confirmed | To Be Confirmed | To Be Confirmed | London Power Networks plc |  | To Be Confirmed | To Be Confirmed | Wales
BiofuelSewagegas | Biofuel - Sewage gas | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  |  | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) |  |  | Storage - Mechanical - Liquid Air |  | Tidal lagoons | Data not available | Steam turbine (thermal power plant) | Steam-gas turbine (CCGT) |  |  |  | Northern Powergrid (Northeast) plc |  |  |  | To Be Confirmed
BiofuelOther | Biofuel - Other | Other | Other | Other | Other | Other |  |  | Other | Other |  | Other | Other |  | Other |  | Fuel cell |  |  | Storage - Mechanical - Pumped Hydro |  | Tidal stream devices |  | Gas turbine (OCGT) | Other |  |  |  | Northern Powergrid (Yorkshire) plc
Biomass | Biomass | Data not available | Data not available | Data not available | Data not available | Data not available |  |  | Data not available | Data not available |  | Data not available | Data not available |  | Data not available |  | Other |  |  | Storage - Mechanical - Flywheel |  | Wave devices |  | Steam-gas turbine (CCGT) | Data not available |  |  |  | Scottish Hydro Electric Power Distribution plc
FossilBrowncoallignite | Fossil - Brown coal/lignite | [15 empty] | Data not available |  |  | Storage - Thermal |  | Other |  | Other |  |  |  |  | South Eastern Power Networks plc
FossilCoalgas | Fossil - Coal gas | [18 empty] | Storage - Electrochemical (Batteries) |  | Data not available |  | Data not available |  |  |  |  | Southern Electric Power Distribution plc
FossilGas | Fossil - Gas | [18 empty] | Storage - Other |  | (For pumped hydro please select Stored Energy in the energy source column) | [6 empty] | SP Distribution Ltd
FossilHardcoal | Fossil - Hard coal | [18 empty] | Data not available | [8 empty] | SP Manweb plc
FossilOil | Fossil - Oil | [27 empty] | Western Power Distribution (East Midlands) plc
FossilOilshale | Fossil - Oil shale | [27 empty] | Western Power Distribution (South Wales) plc
FossilPeat | Fossil - Peat | [27 empty] | Western Power Distribution (South West) plc
FossilOther | Fossil - Other | [27 empty] | Western Power Distribution (West Midlands) plc
Geothermal | Geothermal
Hydrogen | Hydrogen
Nuclear | Nuclear
Solar | Solar
StoredEnergyallstoredenergyirrespectiveoftheoriginalenergysource | Stored Energy (all stored energy irrespective of the original energy source)
Waste | Waste
Waterflowingwaterorheadofwater | Water (flowing water or head of water)
Wind | Wind
Other | Other
Datanotavailable | Data not available