| Option | Already Connected | Contracted but not yet connected |  |  | Not yet contracted |
| --- | --- | --- | --- | --- | --- |
|  |  | Gate 2 Offer Accepted | Gate 2 Offer Issued But Not Yet Accepted | Gate 2 Offer Not Yet Issued |  |
| 1.1 No transmission costs passed through to distribution connecting customers | No change/ retrospectivity | Distribution variation to remove charges (if any) | Allow offer to be accepted and revise later | No new costs in offer | No costs in new offer |
| 1.1 No transmission costs & passed through to 1.4 distribution connecting customers, with a High-Cost Project Threshold | No change/ retrospectivity | If under HCPT, as above (1.1) If over HCPT, no change | If under HCPT, as above (1.1) If over HCPT, no change | If under HCPT, as above (1.1) If over HCPT, no change | If under HCPT, as above (1.1) If over HCPT, charged in full |
| 1.2 No transmission costs passed through to individual distribution connectees unless the GSP is to feed one customer | No change/ retrospectivity | Distribution variation to remove charges (if any, not a single customer GSP) | Allow offer to be accepted and revise later (not a single customer GSP) | No new costs in offer unless it is a single customer GSP | No new costs in offer unless it is a single customer GSP |
| 1.2 No transmission costs & passed through to 1.4 individual distribution connectees unless the GSP is to feed one customer, with a High-Cost Project Threshold | No change/ retrospectivity | If under HCPT, as above (1.2) If over HCPT, no change | If under HCPT, as above (1.2) If over HCPT, no change | If under HCPT, as above (1.2) If over HCPT, no change | If under HCPT, as above (1.2) If over HCPT, charged in full |

| Option | Already Connected | Contracted but not yet connected |  |  | Not yet contracted |
| --- | --- | --- | --- | --- | --- |
|  |  | Gate 2 Offer Accepted | Gate 2 Offer Issued But Not Accepted | Gate 2 Offer Not Yet Issued |  |
| 2.1 Cost apportionment | No change/ retrospectivity | Distribution variation to CAF charges (if any charges levied in the original offer | Allow offer to be accepted and revise later | CAF charges in offer (if any charges levied in the original offer) | CAF charges in offer |
| 2.1 Cost apportionment, & with a High-Cost 2.4 Project Threshold | No change/ retrospectivity | If under HCPT, as above (2.1) If over HCPT, no change | If under HCPT, as above (2.1) If over HCPT, no change | If under HCPT, as above (2.1) If over HCPT, no change | If under HCPT, CAF charges in offer If over HCPT, charged in full |
| 2.2 Cost apportionment with applicability criteria based on capacity | No change/ retrospectivity | Distribution variation to CAF charges (if any) | Allow offer to be accepted and revise later | CAF charges in offer (if any charges levied in the original offer) | CAF charges in offer |
| 2.2 Cost apportionment & with applicability 2.4 criteria based on capacity, with a High- Cost Project Threshold | No change/ retrospectivity | If under HCPT, as above (2.2) If over HCPT, no change | If under HCPT, as above (2.2) If over HCPT, no change | If under HCPT, as above (2.2) If over HCPT, no change | If under HCPT, CAF charges in offer If over HCPT, charged in full |

| Option | Proposed Implementation Date | Already Connected | Contracted but not yet connected |  |  | Not yet contracted |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Gate 2 Offer Accepted | Gate 2 Offer Issued But Not Accepted | Gate 2 Offer Not Yet Issued |  |
| 3.1 DNO parties apply a consistent locational signal – no DUoS impact | 1st April 28 (ED3) | No change/ retrospectivity | Not applicable | Not applicable | Not applicable | Applications received after the implementation date would have full costs in offers |